## Slide 1: Quantification Software Usage and Troubleshooting
September 4, 2026

## Slide 2: Download the Newest Version
https://github.com/ware-research/gridquant

## Slide 3: Set up python environment
I strongly recommend “uv”
  https://docs.astral.sh/uv/getting-started/installation/
Set up .venv (for uv)
  Into command line at the current directory:
    > “uv venv”
    > “uv pip install –r requirements.txt”
To run software:
  > “uv run run.py”

## Slide 5
18px
8px

## Slide 6
85-(18x2) = 49

## Slide 8: Troubleshooting initial circle finding
Make sure you are using the correct preset for your experiment
Measure and adjust “Minimum Diameter” and Maximum Diameter”
  Find circle diameter and add +5 for max, and -5 for min.
Adjust “P1” if no circles are found (Lower values finds more circles)
Adjust “P2” until the correct circle is found (Lower values select less-defined circles”